Colorimetric Testing for Nitrate

- Device: HI781 Marine Nitrate Low Range

- Method: per manufacturer’s instructions

- Results: parts per million (ppm)

- To execute this procedure successfully, we will need the following materials/supplies:

  - Gloves (S, M, L)

  - 10 mL cuvettes

  - HI781A-0 and HI7818-0 reagents

Colorimetric Testing for Nitrate Method

Colorimetric Testing for Nitrite

- Device: HI781 Marine Nitrate Ultra Low Range

- Method: per manufacturer’s instructions

- Results: parts per billion (ppb)

- To execute this procedure successfully, we will need the following materials/supplies:

  - Gloves (S, M, L)

  - 10 mL cuvettes

  - HI764-0 reagents

Colorimetric Testing for Nitrite Method